## Turbines
Turbine | Serial number | Model | Variant | Gearbox model | Gearbox serial | Commissioned | Hub height (m) | Rotor diameter (m) | Easting (m) | Northing (m) | Elevation (m) | Notes
WTG-01 | LT32-19-0412 | Litware LT-32 | CCV | Fabrikam FGT-3200 | FGT-3200-18-07731 | 2019-08-26 | 92 | 118 | 1210 | 3480 | 452 | Gearbox oil PWG 220 since 2025-09-03
WTG-02 | LT32-19-0413 | Litware LT-32 | CCV | Fabrikam FGT-3200 | FGT-3200-18-07734 | 2019-08-29 | 92 | 118 | 1640 | 3335 | 461 | Gearbox oil PWG 220 since 2025-09-10
WTG-03 | LT32-19-0415 | Litware LT-32 | CCV | Fabrikam FGT-3200 | FGT-3200-18-07738 | 2019-09-03 | 92 | 118 | 2075 | 3190 | 474 | Gearbox oil PWG 220 since 2025-09-17
WTG-04 | LT32-19-0416 | Litware LT-32 | CCV | Fabrikam FGT-3200 | FGT-3200-18-07740 | 2019-09-05 | 92 | 118 | 2510 | 3060 | 478 | Gearbox oil PWG 220 since 2025-09-24
WTG-05 | LT32-19-0418 | Litware LT-32 | CCV | Fabrikam FGT-3200 | FGT-3200-18-07745 | 2019-09-10 | 92 | 118 | 2950 | 2935 | 470 | Gearbox oil PWG 220 since 2025-10-01
WTG-06 | LT32-19-0419 | Litware LT-32 | CCV | Fabrikam FGT-3200 | FGT-3200-18-07747 | 2019-09-12 | 92 | 118 | 3390 | 2805 | 463 | Gearbox oil PWG 220 since 2025-10-08
WTG-07 | LT32-19-0421 | Litware LT-32 | CCV | Fabrikam FGT-3200 | FGT-3200-18-07752 | 2019-09-17 | 92 | 118 | 1385 | 2760 | 441 | Gearbox oil PWG 220 since 2025-10-15
WTG-08 | LT32-19-0422 | Litware LT-32 | CCV | Fabrikam FGT-3200 | FGT-3200-18-07755 | 2019-09-19 | 92 | 118 | 1815 | 2620 | 437 | Gearbox oil PWG 220 since 2025-10-22
WTG-09 | LT32-19-0424 | Litware LT-32 | CCV | Fabrikam FGT-3200 | FGT-3200-19-07760 | 2019-09-24 | 92 | 118 | 2250 | 2480 | 429 | Gearbox oil conversion to PWG 220 pending (deferred, SB-LWS-2025-07)
WTG-10 | LT32-19-0425 | Litware LT-32 | CCV | Fabrikam FGT-3200 | FGT-3200-19-07763 | 2019-09-26 | 92 | 118 | 2690 | 2345 | 424 | Gearbox oil PWG 220 since 2025-11-05
WTG-11 | LT32-19-0427 | Litware LT-32 | CCV | Fabrikam FGT-3200 | FGT-3200-19-07768 | 2019-10-01 | 92 | 118 | 3125 | 2210 | 418 | Gearbox oil PWG 220 since 2025-11-12
WTG-12 | LT32-19-0428 | Litware LT-32 | CCV | Fabrikam FGT-3200 | FGT-3200-19-07771 | 2019-10-03 | 92 | 118 | 3560 | 2075 | 412 | Gearbox oil PWG 220 since 2025-11-19

## Other assets
Asset | Description | Location | Notes
Quellmoor Ridge substation | 33/132 kV substation, one 45 MVA transformer | next to the O&M building | Connection to City Power & Light, Skelvane 132 kV substation, circuit 2
MM-01 met mast | 92 m meteorological mast | north of WTG-01 | Reference for power curve tests
Quellmoor Ridge O&M building | Site office, workshop and stores | site entrance | Bunded oil drum store

## About
FICTIONAL - NOT FOR OPERATIONAL USE
Asset register 2026 of Quellmoor Ridge Wind Farm (revision 2026-01-12).
Owner: Yusuf Arkwell, Reliability Engineer, Contoso Renewables.
Coordinates are in metres on the local site grid used by the site layout plan.
FICTIONAL - NOT FOR OPERATIONAL USE